CONSTRUCTION QA/QC GOVERNANCE FRAMEWORK Quality Management System, Organizational Structure, Control Gates & Compliance Protocols

1. Executive Overview & Purpose

This Quality Assurance and Quality Control (QA/QC) Governance Framework establishes the organizational structure, authority hierarchy, operational inspection protocols, and reporting mechanisms required across all project phases. The objective is to deliver built assets that strictly conform to approved designs, specifications, industry standards (ISO 9001:2015, ASTM, ACI, BS/EN), and statutory safety codes while minimizing rework and lifecycle operating costs.

2. Core Distinction: QA vs. QC

A fundamental requirement of construction quality governance is maintaining a clear operational separation between Quality Assurance (preventative processes) and Quality Control (execution inspection).

| Governance Dimension | Quality Assurance (QA) — Process Focus | Quality Control (QC) — Product Focus |
| --- | --- | --- |
| Primary Objective | Prevent defects through systematic processes, planning, and audits. | Identify and rectify defects during execution and assembly. |
| Operational Focus | System-level: Policies, SOPs, ITP templates, qualification of vendors. | Execution-level: On-site inspections, laboratory testing, punch lists. |
| Timing | Proactive: Pre-mobilization, procurement, method statement review. | Active / Reactive: Real-time during fabrication, pours, and installation. |
| Accountability | Corporate QA Director, Project QA Manager, Independent Auditor. | Discipline QC Engineers, Site Inspectors, Subcontractor QC Leads. |
| Primary Deliverables | Project Quality Plan (PQP), Audit Reports, Risk Registers, SOPs. | Inspection & Test Plans (ITPs), Test Logs, NCRs, As-Built Verification. |

3. Governance Hierarchy & Reporting Independence

To ensure unbiased quality enforcement, site-level QA/QC personnel maintain an independent direct reporting line to Corporate Quality Leadership, granting them unconditional Stop-Work Authority.

QA/QC Manager: Defines corporate standards, conducts third-party surveillance, and arbitrates complex quality deviations.

QAQC Superintendent: Author of the Project Quality Plan (PQP), oversees independent testing laboratories, chairs weekly quality reviews, and exercises stop-work enforcement.

QC Engineers (Civil, Structural, MEP): Conduct daily inspections, witness field testing, enforce ITP criteria, and log non-conformances.

Site Construction Team (PM / Superintendents): Responsible for production execution strictly within the approved method statements and engineering tolerances.

4. Key Pillars of Quality Governance

4.1 Project Quality Plan (PQP)

The PQP is the primary governing instrument developed prior to mobilization. It defines contractual codes, key personnel credentials, document control workflows, laboratory accreditation parameters, and calibration regimes.

4.2 Inspection & Test Plans (ITPs) and Quality Control Gates

Every major work package (e.g., Earthworks, Deep Foundations, Rebar, Concrete Placement, MEP Rough-Ins) must operate under an approved ITP with strict gatekeeper points:

See QITP plan

4.3 Three-Phase Inspection System

1. Preparatory Phase: Conducted prior to starting any new work activity. Validates approved shop drawings, material submittals, safety constraints, and prerequisite prerequisites.

2. Initial Phase: Performed on the first representative section of work (e.g., first concrete column, first MEP corridor) to establish acceptable workmanship benchmarks.

3. Follow-Up Phase: Continuous daily inspections verifying that subsequent production strictly matches the benchmark established in the initial phase.

5. Non-Conformance Management (NCR) & Root Cause Analysis

Non-conforming items must follow a strict governance cycle to prevent recurrence and structural compromise:

Step 1 - Identification & Quarantine: Immediate physical tagging, isolation, and formal NCR issuance within 12 hours of discovery.

Step 2 - Root Cause Analysis (RCA): Multi-disciplinary assessment using 5-Whys or Fishbone diagrams to identify systemic causes (e.g., operator skill, bad material, design defect).

Step 3 - Disposition Category: Classified under: (a) Rework to spec, (b) Repair via approved EOR procedure, (c) Scrap/Reject, or (d) Concession/Use-As-Is (requires Engineer of Record formal sign-off).

Step 4 - Verification & Closeout: Re-inspection, destructive/non-destructive testing, and formal closure sign-off prior to releasing subsequent hold points.

6. Key Performance Indicators (KPIs)

SEE KPI FILE